Mayo Energy Agency Ltd.

| Guide line Cost Analysis for Energy Savings Measures |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The costs given in this table are for guidelines purposes only |  |  |  |  |  |  |  |  |
| Exact costs will depend on materials selected and the house type, style and condition |  |  |  |  |  |  |  |  |
|  |  |  | Full Cost (€) |  | DIY Cost (€) |  |  | Estimated |
|  |  |  | From | To | From | To | Unit | Payback Period |
| Insulation |  |  |  |  |  |  |  |  |
| Roof/loft insulation (150 mm) |  |  | 2.5394 | 6.3485 | 1.2697 | 3.8091 | m2 | 2 Years (DIY), 3-4 Years (Contractor) |
| Flat Roof insulation |  |  | 31.7425 | 50.788 |  |  | m2 |  |
| Cavity Wall Insulation |  |  | 5.0788 | 8.8879 |  |  | m2 | 4-8 Years |
| External Walls Insulation |  |  | 69.8335 | 88.879 |  |  | m2 | 20 years |
| Internal Wall Insulation |  |  | 25.394 | 31.7425 | 6.3485 | 10.158 | m2 | 3-4 Years (DIY), 20 Years (Contractor) |
| Floor Insulation (Timber floor) |  |  | 7.6182 | 10.1576 | 5.0788 | 7.6182 | m2 | 10 years |
| Floor insulation (Concrete) |  |  | 25.394 | 38.091 |  |  |  | long term |
| Pipe work Insulation |  |  | 1.2697 | 2.5394 | 0 | 1.2697 | m | n/a - frost protection |
| Hot Water Tank Jacket |  |  | 19.0455 | 25.394 | 12.697 | 15.236 | Unit | 0.5 -1 Year |
| Draught Stripping |  |  |  |  |  |  |  |  |
| Draught Stripping |  |  | 3.8091 | 6.3485 | 2.5394 | 5.0788 | m | 2-6 Years (DIY), 7-20 Years (Contractor) |
| Filling In Gaps Around Skirting |  |  | 1.2697 | 2.5394 | 1.2697 | 1.2697 | m | <1 year |
| Glazing |  |  |  |  |  |  |  |  |
| Double Glazing |  |  | 152.364 | 380.91 |  |  | m2 | 8-10 years (Marginal Cost) |
| Low Emissivity Double Glazing |  |  | 177.758 | 431.698 |  |  | m2 | 8-10 years (Marginal Cost) |
| Secondary Glazing |  |  | 165.061 | 253.94 | 139.67 | 253.94 | m2 | 15-25 years (DIY) |
| Lighting |  |  |  |  |  |  |  |  |
| Lighting-CFLs |  |  | 12.697 | 16.5061 | 11.427 | 13.967 | Bulb | 1-2 years |
| Automatic Lighting Controls |  |  | 63.485 | 6348.5 |  |  | Unit | Long Term |
| Slim line T8 Fluorescent Tubes |  |  | 1.2697 | 2.5394 |  |  | Unit | 1-2 Years |
| Heating Systems |  |  |  |  |  |  |  |  |
| Condensing Boiler (gas or oil) |  |  | 1015.76 | 1269.7 |  |  | Unit | <10 years |
| Gas Fires |  |  | 253.94 | 761.82 |  |  | Unit | n/a |
| Solid Fuel Appliances |  |  | 380.91 | 507.88 |  |  | Unit | n/a |
| Off peak Storage Radiators |  |  | 304.728 | 431.698 |  |  | Unit | n/a |
| Solar domestic Water Heating |  |  | 2539.4 | 5713.65 |  |  | System | n/a |
| Heating Controls |  |  |  |  |  |  |  |  |
| Heating Timers & Programmers |  |  | 107.9245 | 152.364 | 82.531 | 126.97 | Unit | <3 years |
| Thermostatic Radiator Valves |  |  | 19.0455 | 25.394 | 12.697 | 19.046 | Unit | <3 years |
| Room Thermostat |  |  | 38.091 | 76.182 | 19.046 | 25.394 | Unit | <3 years |
| Radiator Shelf |  |  | 19.0455 | 38.091 | 12.697 | 25.394 | Radiator | <3 years |
| Radiator Reflector/Foil Behind Radiator |  |  | 12.697 | 31.7425 | 6.3485 | 12.697 | Rad | <3 years |
| Optimum Start Control & Compensation |  |  | 380.91 | 6348.5 |  |  | Unit | 3-4 years |
| Domestic Hot Water |  |  |  |  |  |  |  |  |
| Local Instant Hot Water Production |  |  | 190.455 | 380.91 |  |  | Unit |  |
| Spray Taps & Water Conservation |  |  | 63.485 | 126.97 |  |  | Unit | <1 year |
| Hot Water Pipe Insulation |  |  | 1.2697 | 2.5394 |  |  | m | 1-2 years |
| Water Heater Timer |  |  | 38.091 | 57.1365 | 31.743 | 44.44 | Unit | <3 years |
| Hot Water/Cylinder Thermostat |  |  | 44.4395 | 50.788 | 25.394 | 38.091 | Unit | <3 years |

Mayo Energy Agency Ltd.

Mayo Energy Agency

Arran Place,

Ballina,

Co. Mayo,

Ireland

Tel: 096-74034

Fax: 096-72950

E-mail: mayoenergy@eircom.net

Web: mayoenergy.ie